## Cover
Bangladesh Net-Zero 2050
Sector-coupled energy-system optimisation · 4 scenarios · 8 nodes · 2030/2035/2050
Project
Falgun Associates — MSc Energy Systems group case study
University of Oxford, Hilary Term 2026
Excel generated: 2026-05-07 13:56
Headline numbers — Net-Zero 2050 (central case)
€37.3 B |  | 373 TWh |  | 108 GW |  | 0 Mt
Annualised cost (€/yr) |  | Total final-energy demand |  | Solar PV by 2050 |  | Net CO2 by 2050
Four scenarios at 2050
Scenario | Framing | CO2 cap | Cost (€B/yr) | Solar (GW) | Nuclear (GW) | Battery (GWh) | DAC (GW)
BAU (NDC 3.0) | Myopic, brownfield, NDC 3.0 BAU caps | 970 Mt | 26.74 | 140.3 | 4.1 | 230 | 0
Net-Zero 2050 | Myopic, brownfield, NDC 3.0 conditional → 0 Mt by 2050 | 0 Mt | 37.28 | 107.9 | 25.2 | 171.2 | 3.15
BAU Greenfield (2050) | Overnight, fleet preserved, BAU caps | unbounded | 29.81 | 139.6 | 4.1 | 229.2 | 0
NZ Greenfield (2050) | Overnight, fleet preserved, true net-zero | 0 Mt | 39.59 | 72.8 | 30.1 | 107.7 | 3.02
Workbook contents
Sheet | Description | Notes
Cover | This page
CO2 Budget | Annual cap by scenario × year
CAPEX Trajectory | Investment cost per kW for all key technologies, 2030 → 2050
Costs (raw) | Full cost CSV with all parameters (FOM, VOM, lifetime, efficiency, fuel cost)
Brownfield Fleet | BPDB-validated existing fleet by fuel type (operational by 2025)
Top 20 Plants | Largest 20 individual brownfield plants with location and DateOut
Capacity Caps | agg_p_nom_minmax limits — biomass-to-power, coal-to-power
Solver Config | Gurobi parameters (Crossover, Method, BarConvTol, etc.)
Sector Config | Biomass potential, CCS/DAC, renewable carriers, extendable carriers
Renewable Potentials | Solar / wind capacity per sqkm
Demand Projection | TWh by sector × carrier across 2030/2035/2050
Data Sources | Where each input came from
Model Fixes | Critical bugs found and fixed during the project
Results — Capacity | Generator p_nom_opt by scenario × year × carrier
Results — Generation | TWh by scenario × year × carrier
Results — Storage & Cost | Battery, H2, system cost summary
Results — Links | Link p_nom_opt (CCGT, gas-CC, DAC, etc.)

## CO2 Budget
CO₂ budget by scenario
Baseline 97 MtCO2 (IEA 2020 BD electricity sector). Fractions × baseline = annual cap.
Scenario | Year | Cap (MtCO2) | Fraction of 97-Mt baseline | Narrative
BAU | 2030 | 247.3 | 2.55 | NDC 3.0 BAU caps; 2050 effectively unbounded
BAU | 2035 | 261.9 | 2.7 | NDC 3.0 BAU caps; 2050 effectively unbounded
BAU | 2050 | 970 | 10 | NDC 3.0 BAU caps; 2050 effectively unbounded
NZ | 2030 | 247.3 | 2.55 | NDC 3.0 conditional → true net-zero by 2050
NZ | 2035 | 225 | 2.32 | NDC 3.0 conditional → true net-zero by 2050
NZ | 2050 | 0 | 0 | NDC 3.0 conditional → true net-zero by 2050

## CAPEX Trajectory
Capital cost trajectory by technology, 2030 → 2050
Sources: NREL ATB 2024, IRENA WETO 2023, BNEF 2024, DEA Tech Cat. 2024, IEA WEO 2024 (currency 2024). EUR per kW unless noted.
Technology | 2030 (CAPEX) | 2035 (CAPEX) | 2040 (CAPEX) | 2050 (CAPEX) | Unit | Lifetime (yr) | Efficiency | FOM (%/yr) | VOM (€/MWh)
solar | 522.82 | 537.41 | 552 | 491.14 | EUR/kW_e | 25 |  | 2.01 | 0
onwind | 1696.28 | 1722.14 | 1748 | 2127.29 | EUR/kW | 25 |  | 1.82 | 2.21
nuclear | 5400 | 5230 | 5060 | 4600 | EUR/kW_e | 60 | 0.326 | 2.3 | 1.84
OCGT | 1245.88 | 1312.94 | 1380 | 1905.1 | EUR/kW | 25 | 0.43 | 2.66 | 2.61
CCGT | 1245.88 | 1312.94 | 1380 | 1905.1 | EUR/kW | 25 | 0.6 | 2.66 | 2.61
coal | 1764.99 | 1908.295 | 2051.6 | 2698.88 | EUR/kW_e | 40 | 0.356 | 1.78 | 3.71
lignite | 3827.1629 | 3827.1629 | 3827.1629 | 3827.1629 | EUR/kW_e | 40 | 0.33 | 1.31 | 3.2612
oil | 1080 | 1161 | 1242 | 1380 | EUR/kW | 20 | 0.35 | 3.68 | 8.28
biomass | 2337.6116 | 2337.6116 | 2337.6116 | 2337.6116 | EUR/kWel | 30 | 0.468 | 4.5269
battery storage | 151.0028 | 125.4812 | 99.9596 | 79.755 | EUR/kWh | 30
battery inverter | 170.144 | 138.242 | 106.34 | 63.804 | EUR/kW | 10 | 0.96 | 0.9
electrolysis | 1500 | 1350 | 1200 | 1000 | EUR/kW_e | 25 | 0.6994 | 4
Alkaline electrolyzer large size | 429.0306 | 429.0306 | 429.0306 | 429.0306 | EUR/kW | 40 |  | 2.8 | 0.2389
fuel cell | 1164.0438 | 1084.6771 | 1005.3105 | 846.5773 | EUR/kW_e | 10 | 0.5 | 5
SMR | 522201.0492 | 522201.0492 | 522201.0492 | 522201.0492 | EUR/MW_CH4 | 30 | 0.76 | 5
SMR CC | 605753.2171 | 605753.2171 | 605753.2171 | 605753.2171 | EUR/MW_CH4 | 30 | 0.69 | 5
direct air capture | 6000000 | 5500000 | 5000000 | 4000000 | EUR/(tCO2/h) | 20 |  | 4.95
biomass CHP | 3397.1862 | 3318.3391 | 3239.492 | 3081.7978 | EUR/kW_e | 25 | 0.3003 | 3.5368 | 2.222
biomass CHP capture | 2700000 | 2550000 | 2400000 | 2000000 | EUR/(tCO2/h) | 25 |  | 3
central solid biomass CHP | 3544.5017 | 3493.3 | 3442.0984 | 3339.6951 | EUR/kW_e | 25 | 0.2652 | 2.8518 | 4.9394
central gas CHP | 592.6041 | 582.0219 | 571.4397 | 550.2752 | EUR/kW | 25 | 0.43 | 3.4615 | 4.2329
central gas CHP CC | 592.6041 | 582.0219 | 571.4397 | 550.2752 | EUR/kW | 25 | 0.43 | 3.4615 | 4.2329
cement capture | 2600000 | 2400000 | 2200000 | 1800000 | EUR/(tCO2/h) | 25 |  | 3
methanolisation | 703726.4462 | 657729.5552 | 611732.6641 | 519738.882 | EUR/MW_MeOH | 20 |  | 3
Fischer-Tropsch | 703726.4462 | 657729.5552 | 611732.6641 | 519738.882 | EUR/MW_FT | 20 | 0.799 | 3 | 2.2331
Haber-Bosch | 1460.0135 | 1327.0808 | 1194.148 | 915.4941 | EUR/kW_NH3 | 30 |  | 3 | 0.0225

## Costs (raw)
Cost CSV — raw parameters
Every parameter for every technology across years. Filter on column headers in Excel.
Year | Technology | Parameter | Value | Unit
2030 | Alkaline electrolyzer large size | FOM | 2.8 | %/year
2030 | Alkaline electrolyzer large size | VOM | 0.2389 | EUR/MWh_H2
2030 | Alkaline electrolyzer large size | electricity-input | 1.38 | MWh_el/MWh_H2
2030 | Alkaline electrolyzer large size | investment | 429.0306 | EUR/kW
2030 | Alkaline electrolyzer large size | lifetime | 40 | years
2030 | CCGT | FOM | 2.92 | %/year
2030 | CCGT | VOM | 4.5 | EUR/MWh
2030 | CCGT | c_b | 2 | 50oC/100oC
2030 | CCGT | c_v | 0.15 | 50oC/100oC
2030 | CCGT | efficiency | 0.58 | per unit
2030 | CCGT | investment | 1245.88 | EUR/kW
2030 | CCGT | lifetime | 25 | years
2030 | Fischer-Tropsch | FOM | 3 | %/year
2030 | Fischer-Tropsch | VOM | 4.4663 | EUR/MWh_FT
2030 | Fischer-Tropsch | capture rate | 0.9 | per unit
2030 | Fischer-Tropsch | carbondioxide-input | 0.326 | t_CO2/MWh_FT
2030 | Fischer-Tropsch | efficiency | 0.799 | per unit
2030 | Fischer-Tropsch | electricity-input | 0.007 | MWh_el/MWh_FT
2030 | Fischer-Tropsch | hydrogen-input | 1.421 | MWh_H2/MWh_FT
2030 | Fischer-Tropsch | investment | 703726.4462 | EUR/MW_FT
2030 | Fischer-Tropsch | lifetime | 20 | years
2030 | Haber-Bosch | FOM | 3 | %/year
2030 | Haber-Bosch | VOM | 0.0225 | EUR/MWh_NH3
2030 | Haber-Bosch | electricity-input | 0.2473 | MWh_el/MWh_NH3
2030 | Haber-Bosch | hydrogen-input | 1.1484 | MWh_H2/MWh_NH3
2030 | Haber-Bosch | investment | 1460.0135 | EUR/kW_NH3
2030 | Haber-Bosch | lifetime | 30 | years
2030 | Haber-Bosch | nitrogen-input | 0.1597 | t_N2/MWh_NH3
2030 | OCGT | FOM | 2.92 | %/year
2030 | OCGT | VOM | 4.5 | EUR/MWh
2030 | OCGT | efficiency | 0.41 | per unit
2030 | OCGT | investment | 1245.88 | EUR/kW
2030 | OCGT | lifetime | 25 | years
2030 | SMR | FOM | 5 | %/year
2030 | SMR | efficiency | 0.76 | per unit (in LHV)
2030 | SMR | investment | 522201.0492 | EUR/MW_CH4
2030 | SMR | lifetime | 30 | years
2030 | SMR CC | FOM | 5 | %/year
2030 | SMR CC | capture_rate | 0.9 | per unit
2030 | SMR CC | efficiency | 0.69 | per unit (in LHV)
2030 | SMR CC | investment | 605753.2171 | EUR/MW_CH4
2030 | SMR CC | lifetime | 30 | years
2030 | battery inverter | FOM | 0.3375 | %/year
2030 | battery inverter | efficiency | 0.96 | per unit
2030 | battery inverter | investment | 170.144 | EUR/kW
2030 | battery inverter | lifetime | 10 | years
2030 | battery storage | investment | 151.0028 | EUR/kWh
2030 | battery storage | lifetime | 25 | years
2030 | biogas | CO2 stored | 0.0868 | tCO2/MWh_th
2030 | biogas | FOM | 7.7769 | %/year
2030 | biogas | capture rate | 0.9 | per unit
2030 | biogas | efficiency | 1 | per unit
2030 | biogas | fuel | 62.4351 | EUR/MWhth
2030 | biogas | investment | 955.1865 | EUR/kW
2030 | biogas | lifetime | 20 | years
2030 | biomass | FOM | 4.5269 | %/year
2030 | biomass | efficiency | 0.468 | per unit
2030 | biomass | fuel | 7.4076 | EUR/MWhth
2030 | biomass | investment | 2337.6116 | EUR/kWel
2030 | biomass | lifetime | 30 | years
2030 | biomass CHP | FOM | 3.5822 | %/year
2030 | biomass CHP | VOM | 2.222 | EUR/MWh_e
2030 | biomass CHP | c_b | 0.4564 | 40°C/80°C
2030 | biomass CHP | c_v | 1 | 40°C/80°C
2030 | biomass CHP | efficiency | 0.3003 | per unit
2030 | biomass CHP | efficiency-heat | 0.7083 | per unit
2030 | biomass CHP | investment | 3397.1862 | EUR/kW_e
2030 | biomass CHP | lifetime | 25 | years
2030 | biomass CHP capture | FOM | 3 | %/year
2030 | biomass CHP capture | capture_rate | 0.9 | per unit
2030 | biomass CHP capture | compression-electricity-input | 0.085 | MWh/tCO2
2030 | biomass CHP capture | compression-heat-output | 0.14 | MWh/tCO2
2030 | biomass CHP capture | electricity-input | 0.025 | MWh/tCO2
2030 | biomass CHP capture | heat-input | 0.72 | MWh/tCO2
2030 | biomass CHP capture | heat-output | 0.72 | MWh/tCO2
2030 | biomass CHP capture | investment | 2700000 | EUR/(tCO2/h)
2030 | biomass CHP capture | lifetime | 25 | years
2030 | cement capture | FOM | 3 | %/year
2030 | cement capture | capture_rate | 0.9 | per unit
2030 | cement capture | compression-electricity-input | 0.085 | MWh/tCO2
2030 | cement capture | compression-heat-output | 0.14 | MWh/tCO2
2030 | cement capture | electricity-input | 0.022 | MWh/tCO2
2030 | cement capture | heat-input | 0.72 | MWh/tCO2
2030 | cement capture | heat-output | 1.54 | MWh/tCO2
2030 | cement capture | investment | 2600000 | EUR/(tCO2/h)
2030 | cement capture | lifetime | 25 | years
2030 | central gas CHP | FOM | 3.3214 | %/year
2030 | central gas CHP | VOM | 4.4445 | EUR/MWh
2030 | central gas CHP | c_b | 1 | 50oC/100oC
2030 | central gas CHP | c_v | 0.17 | per unit
2030 | central gas CHP | efficiency | 0.41 | per unit
2030 | central gas CHP | investment | 592.6041 | EUR/kW
2030 | central gas CHP | lifetime | 25 | years
2030 | central gas CHP | p_nom_ratio | 1 | per unit
2030 | central gas CHP CC | FOM | 3.3214 | %/year
2030 | central gas CHP CC | VOM | 4.4445 | EUR/MWh
2030 | central gas CHP CC | c_b | 1 | 50oC/100oC
2030 | central gas CHP CC | efficiency | 0.41 | per unit
2030 | central gas CHP CC | investment | 592.6041 | EUR/kW
2030 | central gas CHP CC | lifetime | 25 | years
2030 | central solid biomass CHP | FOM | 2.8661 | %/year
2030 | central solid biomass CHP | VOM | 4.8512 | EUR/MWh_e
2030 | central solid biomass CHP | c_b | 0.3506 | 50°C/100°C
2030 | central solid biomass CHP | c_v | 1 | 50°C/100°C
2030 | central solid biomass CHP | efficiency | 0.2699 | per unit
2030 | central solid biomass CHP | efficiency-heat | 0.8245 | per unit
2030 | central solid biomass CHP | investment | 3544.5017 | EUR/kW_e
2030 | central solid biomass CHP | lifetime | 25 | years
2030 | central solid biomass CHP | p_nom_ratio | 1 | per unit
2030 | coal | CO2 intensity | 0.3361 | tCO2/MWh_th
2030 | coal | FOM | 2.7 | %/year
2030 | coal | VOM | 3.5 | EUR/MWh_e
2030 | coal | efficiency | 0.356 | p.u.
2030 | coal | fuel | 9.5542 | EUR/MWh_th
2030 | coal | investment | 1764.99 | EUR/kW_e
2030 | coal | lifetime | 40 | years
2030 | direct air capture | FOM | 4.95 | %/year
2030 | direct air capture | compression-electricity-input | 0.15 | MWh/tCO2
2030 | direct air capture | compression-heat-output | 0.2 | MWh/tCO2
2030 | direct air capture | electricity-input | 0.4 | MWh_el/t_CO2
2030 | direct air capture | heat-input | 1.6 | MWh_th/t_CO2
2030 | direct air capture | heat-output | 1 | MWh/tCO2
2030 | direct air capture | investment | 6000000 | EUR/(tCO2/h)
2030 | direct air capture | lifetime | 20 | years
2030 | electrolysis | FOM | 4 | %/year
2030 | electrolysis | efficiency | 0.6217 | per unit
2030 | electrolysis | efficiency-heat | 0.2228 | per unit
2030 | electrolysis | investment | 1500 | EUR/kW_e
2030 | electrolysis | lifetime | 25 | years
2030 | fuel cell | FOM | 5 | %/year
2030 | fuel cell | c_b | 1.25 | 50oC/100oC
2030 | fuel cell | efficiency | 0.5 | per unit
2030 | fuel cell | investment | 1164.0438 | EUR/kW_e
2030 | fuel cell | lifetime | 10 | years
2030 | gas | CO2 intensity | 0.198 | tCO2/MWh_th
2030 | gas | fuel | 24.568 | EUR/MWh_th
2030 | lignite | CO2 intensity | 0.4069 | tCO2/MWh_th
2030 | lignite | FOM | 1.31 | %/year
2030 | lignite | VOM | 3.2612 | EUR/MWh_e
2030 | lignite | efficiency | 0.33 | p.u.
2030 | lignite | fuel | 3.2985 | EUR/MWh_th
2030 | lignite | investment | 3827.1629 | EUR/kW_e
2030 | lignite | lifetime | 40 | years
2030 | methanolisation | FOM | 3 | %/year
2030 | methanolisation | capture rate | 0.9 | per unit
2030 | methanolisation | carbondioxide-input | 0.248 | t_CO2/MWh_MeOH
2030 | methanolisation | electricity-input | 0.271 | MWh_e/MWh_MeOH
2030 | methanolisation | heat-output | 0.1 | MWh_th/MWh_MeOH
2030 | methanolisation | hydrogen-input | 1.138 | MWh_H2/MWh_MeOH
2030 | methanolisation | investment | 703726.4462 | EUR/MW_MeOH
2030 | methanolisation | lifetime | 20 | years
2030 | nuclear | FOM | 2.5 | %/year
2030 | nuclear | VOM | 2.4 | EUR/MWh_e
2030 | nuclear | efficiency | 0.326 | p.u.
2030 | nuclear | fuel | 3.4122 | EUR/MWh_th
2030 | nuclear | investment | 5400 | EUR/kW_e
2030 | nuclear | lifetime | 60 | years
2030 | oil | CO2 intensity | 0.2571 | tCO2/MWh_th
2030 | oil | FOM | 3.8 | %/year
2030 | oil | VOM | 6 | EUR/MWh
2030 | oil | efficiency | 0.35 | per unit
2030 | oil | fuel | 52.9111 | EUR/MWhth
2030 | oil | investment | 1080 | EUR/kW
2030 | oil | lifetime | 20 | years
2030 | onwind | FOM | 1.93 | %/year
2030 | onwind | VOM | 1.35 | EUR/MWh
2030 | onwind | investment | 1696.28 | EUR/kW
2030 | onwind | lifetime | 25 | years
2030 | solar | FOM | 1.95 | %/year
2030 | solar | VOM | 0.001 | EUR/MWhel
2030 | solar | investment | 522.82 | EUR/kW_e
2030 | solar | lifetime | 25 | years
2030 | solid biomass | CO2 intensity | 0.3667 | tCO2/MWh_th
2030 | solid biomass | fuel | 13.6489 | EUR/MWh_th
2035 | Alkaline electrolyzer large size | FOM | 2.8 | %/year
2035 | Alkaline electrolyzer large size | VOM | 0.2389 | EUR/MWh_H2
2035 | Alkaline electrolyzer large size | electricity-input | 1.38 | MWh_el/MWh_H2
2035 | Alkaline electrolyzer large size | investment | 429.0306 | EUR/kW
2035 | Alkaline electrolyzer large size | lifetime | 40 | years
2035 | CCGT | FOM | 2.95 | %/year
2035 | CCGT | VOM | 3.3 | EUR/MWh
2035 | CCGT | c_b | 2.05 | 50oC/100oC
2035 | CCGT | c_v | 0.15 | 50oC/100oC
2035 | CCGT | efficiency | 0.585 | per unit
2035 | CCGT | investment | 1312.94 | EUR/kW
2035 | CCGT | lifetime | 25 | years
2035 | Fischer-Tropsch | FOM | 3 | %/year
2035 | Fischer-Tropsch | VOM | 3.9346 | EUR/MWh_FT
2035 | Fischer-Tropsch | capture rate | 0.9 | per unit
2035 | Fischer-Tropsch | carbondioxide-input | 0.3135 | t_CO2/MWh_FT
2035 | Fischer-Tropsch | efficiency | 0.799 | per unit
2035 | Fischer-Tropsch | electricity-input | 0.007 | MWh_el/MWh_FT
2035 | Fischer-Tropsch | hydrogen-input | 1.392 | MWh_H2/MWh_FT
2035 | Fischer-Tropsch | investment | 657729.5552 | EUR/MW_FT
2035 | Fischer-Tropsch | lifetime | 20 | years
2035 | Haber-Bosch | FOM | 3 | %/year
2035 | Haber-Bosch | VOM | 0.0225 | EUR/MWh_NH3
2035 | Haber-Bosch | electricity-input | 0.2473 | MWh_el/MWh_NH3
2035 | Haber-Bosch | hydrogen-input | 1.1484 | MWh_H2/MWh_NH3
2035 | Haber-Bosch | investment | 1327.0808 | EUR/kW_NH3
2035 | Haber-Bosch | lifetime | 30 | years
2035 | Haber-Bosch | nitrogen-input | 0.1597 | t_N2/MWh_NH3
2035 | OCGT | FOM | 2.95 | %/year
2035 | OCGT | VOM | 3.3 | EUR/MWh
2035 | OCGT | efficiency | 0.415 | per unit
2035 | OCGT | investment | 1312.94 | EUR/kW
2035 | OCGT | lifetime | 25 | years
2035 | SMR | FOM | 5 | %/year
2035 | SMR | efficiency | 0.76 | per unit (in LHV)
2035 | SMR | investment | 522201.0492 | EUR/MW_CH4
2035 | SMR | lifetime | 30 | years
2035 | SMR CC | FOM | 5 | %/year
2035 | SMR CC | capture_rate | 0.9 | per unit
2035 | SMR CC | efficiency | 0.69 | per unit (in LHV)
2035 | SMR CC | investment | 605753.2171 | EUR/MW_CH4
2035 | SMR CC | lifetime | 30 | years
2035 | battery inverter | FOM | 0.4387 | %/year
2035 | battery inverter | efficiency | 0.96 | per unit
2035 | battery inverter | investment | 138.242 | EUR/kW
2035 | battery inverter | lifetime | 10 | years
2035 | battery storage | investment | 125.4812 | EUR/kWh
2035 | battery storage | lifetime | 27.5 | years
2035 | biogas | CO2 stored | 0.0868 | tCO2/MWh_th
2035 | biogas | FOM | 7.7769 | %/year
2035 | biogas | capture rate | 0.9 | per unit
2035 | biogas | efficiency | 1 | per unit
2035 | biogas | fuel | 62.4351 | EUR/MWhth
2035 | biogas | investment | 938.7178 | EUR/kW
2035 | biogas | lifetime | 20 | years
2035 | biomass | FOM | 4.5269 | %/year
2035 | biomass | efficiency | 0.468 | per unit
2035 | biomass | fuel | 7.4076 | EUR/MWhth
2035 | biomass | investment | 2337.6116 | EUR/kWel
2035 | biomass | lifetime | 30 | years
2035 | biomass CHP | FOM | 3.5714 | %/year
2035 | biomass CHP | VOM | 2.222 | EUR/MWh_e
2035 | biomass CHP | c_b | 0.4564 | 40°C/80°C
2035 | biomass CHP | c_v | 1 | 40°C/80°C
2035 | biomass CHP | efficiency | 0.3003 | per unit
2035 | biomass CHP | efficiency-heat | 0.7083 | per unit
2035 | biomass CHP | investment | 3318.3391 | EUR/kW_e
2035 | biomass CHP | lifetime | 25 | years
2035 | biomass CHP capture | FOM | 3 | %/year
2035 | biomass CHP capture | capture_rate | 0.925 | per unit
2035 | biomass CHP capture | compression-electricity-input | 0.08 | MWh/tCO2
2035 | biomass CHP capture | compression-heat-output | 0.135 | MWh/tCO2
2035 | biomass CHP capture | electricity-input | 0.024 | MWh/tCO2
2035 | biomass CHP capture | heat-input | 0.69 | MWh/tCO2
2035 | biomass CHP capture | heat-output | 0.69 | MWh/tCO2
2035 | biomass CHP capture | investment | 2550000 | EUR/(tCO2/h)
2035 | biomass CHP capture | lifetime | 25 | years
2035 | cement capture | FOM | 3 | %/year
2035 | cement capture | capture_rate | 0.925 | per unit
2035 | cement capture | compression-electricity-input | 0.08 | MWh/tCO2
2035 | cement capture | compression-heat-output | 0.135 | MWh/tCO2
2035 | cement capture | electricity-input | 0.021 | MWh/tCO2
2035 | cement capture | heat-input | 0.69 | MWh/tCO2
2035 | cement capture | heat-output | 1.51 | MWh/tCO2
2035 | cement capture | investment | 2400000 | EUR/(tCO2/h)
2035 | cement capture | lifetime | 25 | years
2035 | central gas CHP | FOM | 3.3552 | %/year
2035 | central gas CHP | VOM | 4.3916 | EUR/MWh
2035 | central gas CHP | c_b | 1 | 50oC/100oC
2035 | central gas CHP | c_v | 0.17 | per unit
2035 | central gas CHP | efficiency | 0.415 | per unit
2035 | central gas CHP | investment | 582.0219 | EUR/kW
2035 | central gas CHP | lifetime | 25 | years
2035 | central gas CHP | p_nom_ratio | 1 | per unit
2035 | central gas CHP CC | FOM | 3.3552 | %/year
2035 | central gas CHP CC | VOM | 4.3916 | EUR/MWh
2035 | central gas CHP CC | c_b | 1 | 50oC/100oC
2035 | central gas CHP CC | efficiency | 0.415 | per unit
2035 | central gas CHP CC | investment | 582.0219 | EUR/kW
2035 | central gas CHP CC | lifetime | 25 | years
2035 | central solid biomass CHP | FOM | 2.8626 | %/year
2035 | central solid biomass CHP | VOM | 4.8732 | EUR/MWh_e
2035 | central solid biomass CHP | c_b | 0.3486 | 50°C/100°C
2035 | central solid biomass CHP | c_v | 1 | 50°C/100°C
2035 | central solid biomass CHP | efficiency | 0.2687 | per unit
2035 | central solid biomass CHP | efficiency-heat | 0.8257 | per unit
2035 | central solid biomass CHP | investment | 3493.3 | EUR/kW_e
2035 | central solid biomass CHP | lifetime | 25 | years
2035 | central solid biomass CHP | p_nom_ratio | 1 | per unit
2035 | coal | CO2 intensity | 0.3361 | tCO2/MWh_th
2035 | coal | FOM | 2.72 | %/year
2035 | coal | VOM | 3.25 | EUR/MWh_e
2035 | coal | efficiency | 0.356 | p.u.
2035 | coal | fuel | 9.5542 | EUR/MWh_th
2035 | coal | investment | 1908.295 | EUR/kW_e
2035 | coal | lifetime | 40 | years
2035 | direct air capture | FOM | 4.95 | %/year
2035 | direct air capture | compression-electricity-input | 0.15 | MWh/tCO2
2035 | direct air capture | compression-heat-output | 0.2 | MWh/tCO2
2035 | direct air capture | electricity-input | 0.4 | MWh_el/t_CO2
2035 | direct air capture | heat-input | 1.6 | MWh_th/t_CO2
2035 | direct air capture | heat-output | 0.875 | MWh/tCO2
2035 | direct air capture | investment | 5500000 | EUR/(tCO2/h)
2035 | direct air capture | lifetime | 20 | years
2035 | electrolysis | FOM | 4 | %/year
2035 | electrolysis | efficiency | 0.6374 | per unit
2035 | electrolysis | efficiency-heat | 0.2039 | per unit
2035 | electrolysis | investment | 1350 | EUR/kW_e
2035 | electrolysis | lifetime | 25 | years
2035 | fuel cell | FOM | 5 | %/year
2035 | fuel cell | c_b | 1.25 | 50oC/100oC
2035 | fuel cell | efficiency | 0.5 | per unit
2035 | fuel cell | investment | 1084.6771 | EUR/kW_e
2035 | fuel cell | lifetime | 10 | years
2035 | gas | CO2 intensity | 0.198 | tCO2/MWh_th
2035 | gas | fuel | 24.568 | EUR/MWh_th
2035 | lignite | CO2 intensity | 0.4069 | tCO2/MWh_th
2035 | lignite | FOM | 1.31 | %/year
2035 | lignite | VOM | 3.2612 | EUR/MWh_e
2035 | lignite | efficiency | 0.33 | p.u.
2035 | lignite | fuel | 3.2985 | EUR/MWh_th
2035 | lignite | investment | 3827.1629 | EUR/kW_e
2035 | lignite | lifetime | 40 | years
2035 | methanolisation | FOM | 3 | %/year
2035 | methanolisation | capture rate | 0.9 | per unit
2035 | methanolisation | carbondioxide-input | 0.248 | t_CO2/MWh_MeOH
2035 | methanolisation | electricity-input | 0.271 | MWh_e/MWh_MeOH
2035 | methanolisation | heat-output | 0.1 | MWh_th/MWh_MeOH
2035 | methanolisation | hydrogen-input | 1.138 | MWh_H2/MWh_MeOH
2035 | methanolisation | investment | 657729.5552 | EUR/MW_MeOH
2035 | methanolisation | lifetime | 20 | years
2035 | nuclear | FOM | 2.5 | %/year
2035 | nuclear | VOM | 2.2 | EUR/MWh_e
2035 | nuclear | efficiency | 0.326 | p.u.
2035 | nuclear | fuel | 3.4122 | EUR/MWh_th
2035 | nuclear | investment | 5230 | EUR/kW_e
2035 | nuclear | lifetime | 60 | years
2035 | oil | CO2 intensity | 0.2571 | tCO2/MWh_th
2035 | oil | FOM | 3.88 | %/year
2035 | oil | VOM | 7.25 | EUR/MWh
2035 | oil | efficiency | 0.35 | per unit
2035 | oil | fuel | 52.9111 | EUR/MWhth
2035 | oil | investment | 1161 | EUR/kW
2035 | oil | lifetime | 20 | years
2035 | onwind | FOM | 1.91 | %/year
2035 | onwind | VOM | 1.725 | EUR/MWh
2035 | onwind | investment | 1722.14 | EUR/kW
2035 | onwind | lifetime | 25 | years
2035 | solar | FOM | 1.895 | %/year
2035 | solar | VOM | 0.0055 | EUR/MWhel
2035 | solar | investment | 537.41 | EUR/kW_e
2035 | solar | lifetime | 25 | years
2035 | solid biomass | CO2 intensity | 0.3667 | tCO2/MWh_th
2035 | solid biomass | fuel | 13.6489 | EUR/MWh_th
2040 | Alkaline electrolyzer large size | FOM | 2.8 | %/year
2040 | Alkaline electrolyzer large size | VOM | 0.2389 | EUR/MWh_H2
2040 | Alkaline electrolyzer large size | electricity-input | 1.38 | MWh_el/MWh_H2
2040 | Alkaline electrolyzer large size | investment | 429.0306 | EUR/kW
2040 | Alkaline electrolyzer large size | lifetime | 40 | years
2040 | CCGT | FOM | 2.98 | %/year
2040 | CCGT | VOM | 2.1 | EUR/MWh
2040 | CCGT | c_b | 2.1 | 50oC/100oC
2040 | CCGT | c_v | 0.15 | 50oC/100oC
2040 | CCGT | efficiency | 0.59 | per unit
2040 | CCGT | investment | 1380 | EUR/kW
2040 | CCGT | lifetime | 25 | years
2040 | Fischer-Tropsch | FOM | 3 | %/year
2040 | Fischer-Tropsch | VOM | 3.4029 | EUR/MWh_FT
2040 | Fischer-Tropsch | capture rate | 0.9 | per unit
2040 | Fischer-Tropsch | carbondioxide-input | 0.301 | t_CO2/MWh_FT
2040 | Fischer-Tropsch | efficiency | 0.799 | per unit
2040 | Fischer-Tropsch | electricity-input | 0.007 | MWh_el/MWh_FT
2040 | Fischer-Tropsch | hydrogen-input | 1.363 | MWh_H2/MWh_FT
2040 | Fischer-Tropsch | investment | 611732.6641 | EUR/MW_FT
2040 | Fischer-Tropsch | lifetime | 20 | years
2040 | Haber-Bosch | FOM | 3 | %/year
2040 | Haber-Bosch | VOM | 0.0225 | EUR/MWh_NH3
2040 | Haber-Bosch | electricity-input | 0.2473 | MWh_el/MWh_NH3
2040 | Haber-Bosch | hydrogen-input | 1.1484 | MWh_H2/MWh_NH3
2040 | Haber-Bosch | investment | 1194.148 | EUR/kW_NH3
2040 | Haber-Bosch | lifetime | 30 | years
2040 | Haber-Bosch | nitrogen-input | 0.1597 | t_N2/MWh_NH3
2040 | OCGT | FOM | 2.98 | %/year
2040 | OCGT | VOM | 2.1 | EUR/MWh
2040 | OCGT | efficiency | 0.42 | per unit
2040 | OCGT | investment | 1380 | EUR/kW
2040 | OCGT | lifetime | 25 | years
2040 | SMR | FOM | 5 | %/year
2040 | SMR | efficiency | 0.76 | per unit (in LHV)
2040 | SMR | investment | 522201.0492 | EUR/MW_CH4
2040 | SMR | lifetime | 30 | years
2040 | SMR CC | FOM | 5 | %/year
2040 | SMR CC | capture_rate | 0.9 | per unit
2040 | SMR CC | efficiency | 0.69 | per unit (in LHV)
2040 | SMR CC | investment | 605753.2171 | EUR/MW_CH4
2040 | SMR CC | lifetime | 30 | years
2040 | battery inverter | FOM | 0.54 | %/year
2040 | battery inverter | efficiency | 0.96 | per unit
2040 | battery inverter | investment | 106.34 | EUR/kW
2040 | battery inverter | lifetime | 10 | years
2040 | battery storage | investment | 99.9596 | EUR/kWh
2040 | battery storage | lifetime | 30 | years
2040 | biogas | CO2 stored | 0.0868 | tCO2/MWh_th
2040 | biogas | FOM | 7.7769 | %/year
2040 | biogas | capture rate | 0.9 | per unit
2040 | biogas | efficiency | 1 | per unit
2040 | biogas | fuel | 62.4351 | EUR/MWhth
2040 | biogas | investment | 922.249 | EUR/kW
2040 | biogas | lifetime | 20 | years
2040 | biomass | FOM | 4.5269 | %/year
2040 | biomass | efficiency | 0.468 | per unit
2040 | biomass | fuel | 7.4076 | EUR/MWhth
2040 | biomass | investment | 2337.6116 | EUR/kWel
2040 | biomass | lifetime | 30 | years
2040 | biomass CHP | FOM | 3.5606 | %/year
2040 | biomass CHP | VOM | 2.222 | EUR/MWh_e
2040 | biomass CHP | c_b | 0.4564 | 40°C/80°C
2040 | biomass CHP | c_v | 1 | 40°C/80°C
2040 | biomass CHP | efficiency | 0.3003 | per unit
2040 | biomass CHP | efficiency-heat | 0.7083 | per unit
2040 | biomass CHP | investment | 3239.492 | EUR/kW_e
2040 | biomass CHP | lifetime | 25 | years
2040 | biomass CHP capture | FOM | 3 | %/year
2040 | biomass CHP capture | capture_rate | 0.95 | per unit
2040 | biomass CHP capture | compression-electricity-input | 0.075 | MWh/tCO2
2040 | biomass CHP capture | compression-heat-output | 0.13 | MWh/tCO2
2040 | biomass CHP capture | electricity-input | 0.023 | MWh/tCO2
2040 | biomass CHP capture | heat-input | 0.66 | MWh/tCO2
2040 | biomass CHP capture | heat-output | 0.66 | MWh/tCO2
2040 | biomass CHP capture | investment | 2400000 | EUR/(tCO2/h)
2040 | biomass CHP capture | lifetime | 25 | years
2040 | cement capture | FOM | 3 | %/year
2040 | cement capture | capture_rate | 0.95 | per unit
2040 | cement capture | compression-electricity-input | 0.075 | MWh/tCO2
2040 | cement capture | compression-heat-output | 0.13 | MWh/tCO2
2040 | cement capture | electricity-input | 0.02 | MWh/tCO2
2040 | cement capture | heat-input | 0.66 | MWh/tCO2
2040 | cement capture | heat-output | 1.48 | MWh/tCO2
2040 | cement capture | investment | 2200000 | EUR/(tCO2/h)
2040 | cement capture | lifetime | 25 | years
2040 | central gas CHP | FOM | 3.3889 | %/year
2040 | central gas CHP | VOM | 4.3387 | EUR/MWh
2040 | central gas CHP | c_b | 1 | 50oC/100oC
2040 | central gas CHP | c_v | 0.17 | per unit
2040 | central gas CHP | efficiency | 0.42 | per unit
2040 | central gas CHP | investment | 571.4397 | EUR/kW
2040 | central gas CHP | lifetime | 25 | years
2040 | central gas CHP | p_nom_ratio | 1 | per unit
2040 | central gas CHP CC | FOM | 3.3889 | %/year
2040 | central gas CHP CC | VOM | 4.3387 | EUR/MWh
2040 | central gas CHP CC | c_b | 1 | 50oC/100oC
2040 | central gas CHP CC | efficiency | 0.42 | per unit
2040 | central gas CHP CC | investment | 571.4397 | EUR/kW
2040 | central gas CHP CC | lifetime | 25 | years
2040 | central solid biomass CHP | FOM | 2.8591 | %/year
2040 | central solid biomass CHP | VOM | 4.8953 | EUR/MWh_e
2040 | central solid biomass CHP | c_b | 0.3465 | 50°C/100°C
2040 | central solid biomass CHP | c_v | 1 | 50°C/100°C
2040 | central solid biomass CHP | efficiency | 0.2675 | per unit
2040 | central solid biomass CHP | efficiency-heat | 0.8269 | per unit
2040 | central solid biomass CHP | investment | 3442.0984 | EUR/kW_e
2040 | central solid biomass CHP | lifetime | 25 | years
2040 | central solid biomass CHP | p_nom_ratio | 1 | per unit
2040 | coal | CO2 intensity | 0.3361 | tCO2/MWh_th
2040 | coal | FOM | 2.74 | %/year
2040 | coal | VOM | 3 | EUR/MWh_e
2040 | coal | efficiency | 0.356 | p.u.
2040 | coal | fuel | 9.5542 | EUR/MWh_th
2040 | coal | investment | 2051.6 | EUR/kW_e
2040 | coal | lifetime | 40 | years
2040 | direct air capture | FOM | 4.95 | %/year
2040 | direct air capture | compression-electricity-input | 0.15 | MWh/tCO2
2040 | direct air capture | compression-heat-output | 0.2 | MWh/tCO2
2040 | direct air capture | electricity-input | 0.4 | MWh_el/t_CO2
2040 | direct air capture | heat-input | 1.6 | MWh_th/t_CO2
2040 | direct air capture | heat-output | 0.75 | MWh/tCO2
2040 | direct air capture | investment | 5000000 | EUR/(tCO2/h)
2040 | direct air capture | lifetime | 20 | years
2040 | electrolysis | FOM | 4 | %/year
2040 | electrolysis | efficiency | 0.6532 | per unit
2040 | electrolysis | efficiency-heat | 0.1849 | per unit
2040 | electrolysis | investment | 1200 | EUR/kW_e
2040 | electrolysis | lifetime | 25 | years
2040 | fuel cell | FOM | 5 | %/year
2040 | fuel cell | c_b | 1.25 | 50oC/100oC
2040 | fuel cell | efficiency | 0.5 | per unit
2040 | fuel cell | investment | 1005.3105 | EUR/kW_e
2040 | fuel cell | lifetime | 10 | years
2040 | gas | CO2 intensity | 0.198 | tCO2/MWh_th
2040 | gas | fuel | 24.568 | EUR/MWh_th
2040 | lignite | CO2 intensity | 0.4069 | tCO2/MWh_th
2040 | lignite | FOM | 1.31 | %/year
2040 | lignite | VOM | 3.2612 | EUR/MWh_e
2040 | lignite | efficiency | 0.33 | p.u.
2040 | lignite | fuel | 3.2985 | EUR/MWh_th
2040 | lignite | investment | 3827.1629 | EUR/kW_e
2040 | lignite | lifetime | 40 | years
2040 | methanolisation | FOM | 3 | %/year
2040 | methanolisation | capture rate | 0.9 | per unit
2040 | methanolisation | carbondioxide-input | 0.248 | t_CO2/MWh_MeOH
2040 | methanolisation | electricity-input | 0.271 | MWh_e/MWh_MeOH
2040 | methanolisation | heat-output | 0.1 | MWh_th/MWh_MeOH
2040 | methanolisation | hydrogen-input | 1.138 | MWh_H2/MWh_MeOH
2040 | methanolisation | investment | 611732.6641 | EUR/MW_MeOH
2040 | methanolisation | lifetime | 20 | years
2040 | nuclear | FOM | 2.5 | %/year
2040 | nuclear | VOM | 2 | EUR/MWh_e
2040 | nuclear | efficiency | 0.326 | p.u.
2040 | nuclear | fuel | 3.4122 | EUR/MWh_th
2040 | nuclear | investment | 5060 | EUR/kW_e
2040 | nuclear | lifetime | 60 | years
2040 | oil | CO2 intensity | 0.2571 | tCO2/MWh_th
2040 | oil | FOM | 3.96 | %/year
2040 | oil | VOM | 8.5 | EUR/MWh
2040 | oil | efficiency | 0.35 | per unit
2040 | oil | fuel | 52.9111 | EUR/MWhth
2040 | oil | investment | 1242 | EUR/kW
2040 | oil | lifetime | 20 | years
2040 | onwind | FOM | 1.89 | %/year
2040 | onwind | VOM | 2.1 | EUR/MWh
2040 | onwind | investment | 1748 | EUR/kW
2040 | onwind | lifetime | 25 | years
2040 | solar | FOM | 1.84 | %/year
2040 | solar | VOM | 0.01 | EUR/MWhel
2040 | solar | investment | 552 | EUR/kW_e
2040 | solar | lifetime | 25 | years
2040 | solid biomass | CO2 intensity | 0.3667 | tCO2/MWh_th
2040 | solid biomass | fuel | 13.6489 | EUR/MWh_th
2050 | Alkaline electrolyzer large size | FOM | 2.8 | %/year
2050 | Alkaline electrolyzer large size | VOM | 0.2389 | EUR/MWh_H2
2050 | Alkaline electrolyzer large size | electricity-input | 1.38 | MWh_el/MWh_H2
2050 | Alkaline electrolyzer large size | investment | 429.0306 | EUR/kW
2050 | Alkaline electrolyzer large size | lifetime | 40 | years
2050 | CCGT | FOM | 2.66 | %/year
2050 | CCGT | VOM | 2.61 | EUR/MWh
2050 | CCGT | c_b | 2.2 | 50oC/100oC
2050 | CCGT | c_v | 0.15 | 50oC/100oC
2050 | CCGT | efficiency | 0.6 | per unit
2050 | CCGT | investment | 1905.1 | EUR/kW
2050 | CCGT | lifetime | 25 | years
2050 | Fischer-Tropsch | FOM | 3 | %/year
2050 | Fischer-Tropsch | VOM | 2.2331 | EUR/MWh_FT
2050 | Fischer-Tropsch | capture rate | 0.9 | per unit
2050 | Fischer-Tropsch | carbondioxide-input | 0.276 | t_CO2/MWh_FT
2050 | Fischer-Tropsch | efficiency | 0.799 | per unit
2050 | Fischer-Tropsch | electricity-input | 0.007 | MWh_el/MWh_FT
2050 | Fischer-Tropsch | hydrogen-input | 1.327 | MWh_H2/MWh_FT
2050 | Fischer-Tropsch | investment | 519738.882 | EUR/MW_FT
2050 | Fischer-Tropsch | lifetime | 20 | years
2050 | Haber-Bosch | FOM | 3 | %/year
2050 | Haber-Bosch | VOM | 0.0225 | EUR/MWh_NH3
2050 | Haber-Bosch | electricity-input | 0.2473 | MWh_el/MWh_NH3
2050 | Haber-Bosch | hydrogen-input | 1.1484 | MWh_H2/MWh_NH3
2050 | Haber-Bosch | investment | 915.4941 | EUR/kW_NH3
2050 | Haber-Bosch | lifetime | 30 | years
2050 | Haber-Bosch | nitrogen-input | 0.1597 | t_N2/MWh_NH3
2050 | OCGT | FOM | 2.66 | %/year
2050 | OCGT | VOM | 2.61 | EUR/MWh
2050 | OCGT | efficiency | 0.43 | per unit
2050 | OCGT | investment | 1905.1 | EUR/kW
2050 | OCGT | lifetime | 25 | years
2050 | SMR | FOM | 5 | %/year
2050 | SMR | efficiency | 0.76 | per unit (in LHV)
2050 | SMR | investment | 522201.0492 | EUR/MW_CH4
2050 | SMR | lifetime | 30 | years
2050 | SMR CC | FOM | 5 | %/year
2050 | SMR CC | capture_rate | 0.9 | per unit
2050 | SMR CC | efficiency | 0.69 | per unit (in LHV)
2050 | SMR CC | investment | 605753.2171 | EUR/MW_CH4
2050 | SMR CC | lifetime | 30 | years
2050 | battery inverter | FOM | 0.9 | %/year
2050 | battery inverter | efficiency | 0.96 | per unit
2050 | battery inverter | investment | 63.804 | EUR/kW
2050 | battery inverter | lifetime | 10 | years
2050 | battery storage | investment | 79.755 | EUR/kWh
2050 | battery storage | lifetime | 30 | years
2050 | biogas | CO2 stored | 0.0868 | tCO2/MWh_th
2050 | biogas | FOM | 7.7769 | %/year
2050 | biogas | capture rate | 0.9 | per unit
2050 | biogas | efficiency | 1 | per unit
2050 | biogas | fuel | 62.4351 | EUR/MWhth
2050 | biogas | investment | 867.3532 | EUR/kW
2050 | biogas | lifetime | 20 | years
2050 | biomass | FOM | 4.5269 | %/year
2050 | biomass | efficiency | 0.468 | per unit
2050 | biomass | fuel | 7.4076 | EUR/MWhth
2050 | biomass | investment | 2337.6116 | EUR/kWel
2050 | biomass | lifetime | 30 | years
2050 | biomass CHP | FOM | 3.5368 | %/year
2050 | biomass CHP | VOM | 2.222 | EUR/MWh_e
2050 | biomass CHP | c_b | 0.4564 | 40°C/80°C
2050 | biomass CHP | c_v | 1 | 40°C/80°C
2050 | biomass CHP | efficiency | 0.3003 | per unit
2050 | biomass CHP | efficiency-heat | 0.7083 | per unit
2050 | biomass CHP | investment | 3081.7978 | EUR/kW_e
2050 | biomass CHP | lifetime | 25 | years
2050 | biomass CHP capture | FOM | 3 | %/year
2050 | biomass CHP capture | capture_rate | 0.95 | per unit
2050 | biomass CHP capture | compression-electricity-input | 0.075 | MWh/tCO2
2050 | biomass CHP capture | compression-heat-output | 0.13 | MWh/tCO2
2050 | biomass CHP capture | electricity-input | 0.02 | MWh/tCO2
2050 | biomass CHP capture | heat-input | 0.66 | MWh/tCO2
2050 | biomass CHP capture | heat-output | 0.66 | MWh/tCO2
2050 | biomass CHP capture | investment | 2000000 | EUR/(tCO2/h)
2050 | biomass CHP capture | lifetime | 25 | years
2050 | cement capture | FOM | 3 | %/year
2050 | cement capture | capture_rate | 0.95 | per unit
2050 | cement capture | compression-electricity-input | 0.075 | MWh/tCO2
2050 | cement capture | compression-heat-output | 0.13 | MWh/tCO2
2050 | cement capture | electricity-input | 0.018 | MWh/tCO2
2050 | cement capture | heat-input | 0.66 | MWh/tCO2
2050 | cement capture | heat-output | 1.48 | MWh/tCO2
2050 | cement capture | investment | 1800000 | EUR/(tCO2/h)
2050 | cement capture | lifetime | 25 | years
2050 | central gas CHP | FOM | 3.4615 | %/year
2050 | central gas CHP | VOM | 4.2329 | EUR/MWh
2050 | central gas CHP | c_b | 1 | 50oC/100oC
2050 | central gas CHP | c_v | 0.17 | per unit
2050 | central gas CHP | efficiency | 0.43 | per unit
2050 | central gas CHP | investment | 550.2752 | EUR/kW
2050 | central gas CHP | lifetime | 25 | years
2050 | central gas CHP | p_nom_ratio | 1 | per unit
2050 | central gas CHP CC | FOM | 3.4615 | %/year
2050 | central gas CHP CC | VOM | 4.2329 | EUR/MWh
2050 | central gas CHP CC | c_b | 1 | 50oC/100oC
2050 | central gas CHP CC | efficiency | 0.43 | per unit
2050 | central gas CHP CC | investment | 550.2752 | EUR/kW
2050 | central gas CHP CC | lifetime | 25 | years
2050 | central solid biomass CHP | FOM | 2.8518 | %/year
2050 | central solid biomass CHP | VOM | 4.9394 | EUR/MWh_e
2050 | central solid biomass CHP | c_b | 0.3423 | 50°C/100°C
2050 | central solid biomass CHP | c_v | 1 | 50°C/100°C
2050 | central solid biomass CHP | efficiency | 0.2652 | per unit
2050 | central solid biomass CHP | efficiency-heat | 0.8294 | per unit
2050 | central solid biomass CHP | investment | 3339.6951 | EUR/kW_e
2050 | central solid biomass CHP | lifetime | 25 | years
2050 | central solid biomass CHP | p_nom_ratio | 1 | per unit
2050 | coal | CO2 intensity | 0.3361 | tCO2/MWh_th
2050 | coal | FOM | 1.78 | %/year
2050 | coal | VOM | 3.71 | EUR/MWh_e
2050 | coal | efficiency | 0.356 | p.u.
2050 | coal | fuel | 9.5542 | EUR/MWh_th
2050 | coal | investment | 2698.88 | EUR/kW_e
2050 | coal | lifetime | 40 | years
2050 | direct air capture | FOM | 4.95 | %/year
2050 | direct air capture | compression-electricity-input | 0.15 | MWh/tCO2
2050 | direct air capture | compression-heat-output | 0.2 | MWh/tCO2
2050 | direct air capture | electricity-input | 0.4 | MWh_el/t_CO2
2050 | direct air capture | heat-input | 1.6 | MWh_th/t_CO2
2050 | direct air capture | heat-output | 0.75 | MWh/tCO2
2050 | direct air capture | investment | 4000000 | EUR/(tCO2/h)
2050 | direct air capture | lifetime | 20 | years
2050 | electrolysis | FOM | 4 | %/year
2050 | electrolysis | efficiency | 0.6994 | per unit
2050 | electrolysis | efficiency-heat | 0.1294 | per unit
2050 | electrolysis | investment | 1000 | EUR/kW_e
2050 | electrolysis | lifetime | 25 | years
2050 | fuel cell | FOM | 5 | %/year
2050 | fuel cell | c_b | 1.25 | 50oC/100oC
2050 | fuel cell | efficiency | 0.5 | per unit
2050 | fuel cell | investment | 846.5773 | EUR/kW_e
2050 | fuel cell | lifetime | 10 | years
2050 | gas | CO2 intensity | 0.198 | tCO2/MWh_th
2050 | gas | fuel | 24.568 | EUR/MWh_th
2050 | lignite | CO2 intensity | 0.4069 | tCO2/MWh_th
2050 | lignite | FOM | 1.31 | %/year
2050 | lignite | VOM | 3.2612 | EUR/MWh_e
2050 | lignite | efficiency | 0.33 | p.u.
2050 | lignite | fuel | 3.2985 | EUR/MWh_th
2050 | lignite | investment | 3827.1629 | EUR/kW_e
2050 | lignite | lifetime | 40 | years
2050 | methanolisation | FOM | 3 | %/year
2050 | methanolisation | capture rate | 0.9 | per unit
2050 | methanolisation | carbondioxide-input | 0.248 | t_CO2/MWh_MeOH
2050 | methanolisation | electricity-input | 0.271 | MWh_e/MWh_MeOH
2050 | methanolisation | heat-output | 0.1 | MWh_th/MWh_MeOH
2050 | methanolisation | hydrogen-input | 1.138 | MWh_H2/MWh_MeOH
2050 | methanolisation | investment | 519738.882 | EUR/MW_MeOH
2050 | methanolisation | lifetime | 20 | years
2050 | nuclear | FOM | 2.3 | %/year
2050 | nuclear | VOM | 1.84 | EUR/MWh_e
2050 | nuclear | efficiency | 0.326 | p.u.
2050 | nuclear | fuel | 3.4122 | EUR/MWh_th
2050 | nuclear | investment | 4600 | EUR/kW_e
2050 | nuclear | lifetime | 60 | years
2050 | oil | CO2 intensity | 0.2571 | tCO2/MWh_th
2050 | oil | FOM | 3.68 | %/year
2050 | oil | VOM | 8.28 | EUR/MWh
2050 | oil | efficiency | 0.35 | per unit
2050 | oil | fuel | 52.9111 | EUR/MWhth
2050 | oil | investment | 1380 | EUR/kW
2050 | oil | lifetime | 20 | years
2050 | onwind | FOM | 1.82 | %/year
2050 | onwind | VOM | 2.21 | EUR/MWh
2050 | onwind | investment | 2127.29 | EUR/kW
2050 | onwind | lifetime | 25 | years
2050 | solar | FOM | 2.01 | %/year
2050 | solar | VOM | 0 | EUR/MWhel
2050 | solar | investment | 491.14 | EUR/kW_e
2050 | solar | lifetime | 25 | years
2050 | solid biomass | CO2 intensity | 0.3667 | tCO2/MWh_th
2050 | solid biomass | fuel | 13.6489 | EUR/MWh_th

## Brownfield Fleet
Brownfield fleet (BPDB-validated)
From data/custom_powerplants_pypsa_bd.csv. Operational by 2025 = in the model's brownfield. Pipeline post-2025 = excluded.
Summary
Total operational by 2025 | 29062
Pipeline post-2025 (excluded) | 18748
Operational fleet by fuel type
Fuel type | Operational by 2025 (MW) | % of operational | Tech breakdown
Natural Gas | 11609 | 39.95% | CCGT: 11,609
Oil | 6774 | 23.31% | Steam Turbine: 6,774
Hard Coal | 5987 | 20.6% | Steam Turbine: 5,987
Nuclear | 2060 | 7.088% | Steam Turbine: 2,060
GAS/Oil | 1775 | 6.108% | Steam Turbine: 1,775
Solar | 625 | 2.151% | Pv: 625
Hydro | 230 | 0.7914% | Reservoir: 230
Wind | 2 | 0.006882% | Offshore: 2

## Top 20 Plants
Top 20 individual brownfield plants
Largest plants operational by 2025. DateOut indicates retirement; model retires per these dates.
Name | Fuel | Tech | Capacity (MW) | DateIn | DateOut | Latitude | Longitude
Rooppur | Nuclear | Steam Turbine | 2060 | 2025 | 2075 | 24.0649 | 89.0352
Adani Power Jharkhanda Ltd | Hard Coal | Steam Turbine | 1496 | 2023 | 2058 | 23.7244 | 86.4376
Payra 1320 MW | Hard Coal | Steam Turbine | 1244 | 2020 | 2055 | 22.3419 | 90.3187
SS Power I | Hard Coal | Steam Turbine | 1224 | 2024 | 2059 | 22.4667 | 91.6917
Meghnagat 750 MW CCPP (Reliance) | Natural Gas | CCGT | 718 | 2025 | 2050 | 23.5648 | 90.5405
Rampal 1320 MW (BIFPCL) | Hard Coal | Steam Turbine | 617 | 2022 | 2057 | 22.4898 | 89.7322
Meghnaghat Unique power | Natural Gas | CCGT | 584 | 2023 | 2048 | 23.5648 | 90.5405
Matarbari 2*600 MW (CPGCL) | Hard Coal | Steam Turbine | 575 | 2023 | 2058 | 21.7817 | 91.8827
Meghnaghat 450 MW CCPP(MPL) | Natural Gas | CCGT | 450 | 2022 | 2047 | 23.5648 | 90.5405
Rupsa 800 MW CCPP (Unit-1) | Natural Gas | CCGT | 440 | 2025 | 2050 | 22.8456 | 89.5403
Sirajgonj 400 MW CCPP Unit-4 | GAS/Oil | Steam Turbine | 414 | 2019 | 2039 | 24.4616 | 89.65
Haripur 412 MW CCPP | Natural Gas | CCGT | 412 | 2013 | 2038 | 23.6222 | 90.5106
Bheramara 410 MW CCPP | Natural Gas | CCGT | 410 | 2017 | 2042 | 24.0296 | 88.9926
Ashuganj 420 MW CCPP(East) | Natural Gas | CCGT | 400 | 2018 | 2043 | 24.0252 | 91.0051
Bibiyana-III 400 MW CCPP | Natural Gas | CCGT | 400 | 2019 | 2044 | 24.6755 | 91.4661
Bibiyana South 400 MW | Natural Gas | CCGT | 383 | 2021 | 2046 | 24.6755 | 91.4661
Ghorasal 365 MW CCPP Unit-7 | Natural Gas | CCGT | 365 | 2018 | 2043 | 23.7932 | 90.6242
Haripur 360 MW CCPP(HPL) | Natural Gas | CCGT | 360 | 2015 | 2040 | 23.6222 | 90.5106
Ashuganj 450 MW CCPP(North) | Natural Gas | CCGT | 360 | 2016 | 2041 | 24.0252 | 91.0051
Ashuganj 450 MW CCPP(South) | Natural Gas | CCGT | 360 | 2017 | 2042 | 24.0252 | 91.0051

## Capacity Caps
Capacity caps (agg_p_nom_minmax.csv)
Per-(country, carrier) limits. Enforced by add_carrier_capacity_envelope_constraints in solve_network.py — sums Generator + Link paths.
Country | Carrier | Component | 2030 min | 2030 max | 2035 min | 2035 max | 2050 min | 2050 max
BD | biomass-to-power | Link | 0 | 7822 | 0 | 7822 | 0 | 7822
BD | coal-to-power | Link | 0 | 7822 | 0 | 7822 | 0 | 7822
Note: BD has zero offshore wind brownfield (the 'offshore' plants in custom_powerplants_pypsa_bd.csv are mislabelled inland wind farms <150 MW total).

## Solver Config
Solver configuration
Gurobi 12.0.3 WLS academic, barrier-only (Crossover=0). Solve time 30–90 min/horizon at 3h.
Setting | Value | Notes
Solver | gurobi | Gurobi WLS academic (Oxford St Hilda's)
Foresight | myopic | Sequential per-horizon optimisation with brownfield handoff
Planning horizons | 2030 → 2035 → 2050 | Myopic
Spatial clusters | 8 | BD GADM admin-1 (8 divisions)
Temporal opts | Co2L-3H | CO2 limit + carbon resolution wildcard
Temporal sopts | 3h | Sector-coupling resolution
Snapshots/yr (3h) | 2920
Snapshots/yr (1h) | 8760
Demand scenario | AB | AB = SSP2-2.6 with moderate growth
Gurobi options
Parameter | Value | Effect
threads | 4 | 16 — match Hetzner cx53 vCPUs
method | 2 | 2 = barrier (best for huge LPs)
crossover | 0 | 0 = skip crossover (barrier solution accepted)
BarConvTol | 1e-06 | 1e-5 = relative duality gap target
Seed | 123 | 123 = reproducibility
AggFill | 0 | 0 = controls aggregator size
PreDual | 0 | 0 = no dual presolve
GURO_PAR_BARDENSETHRESH | 200 | 200 = barrier dense threshold

## Sector Config
Sector-coupled options
Biomass potential, CCS/DAC, renewable / extendable carriers. Critical caps that bound the optimisation.
Setting | Value
Solid biomass potential (TWh/yr) | 105
Biogas potential (TWh/yr) | 0.5
Biomass-to-power capacity cap (MW) | 7822
Biomass transport between nodes | TRUE
CO2 sequestration potential (MtCO2/yr) | 200
Carbon capture (CC) enabled | TRUE
DAC enabled | TRUE
Renewable carriers | solar, onwind, offwind-ac, offwind-dc, hydro
Conventional (brownfield) carriers | nuclear, oil, OCGT, CCGT, coal, lignite, geothermal, biomass
H2 export (TWh) | 0
Extendable carriers
Component | Carriers
Generator | solar, onwind, offwind-ac, offwind-dc, OCGT, CCGT, biomass, nuclear
StorageUnit | battery
Store | battery, H2
Link | (empty)

## Demand
Demand assumptions — growing toward Net-Zero
BD's NZ pathway is supply-side: meet GROWING demand with zero-carbon sources, NOT reduce demand. Same projections in BAU and NZ.
Demand philosophy
Aspect | Value / explanation
Approach | GROWING demand pathway: BD's economic development requires more energy, not less. NZ achieved through SUPPLY transformation, not demand reduction.
Baseline (2018-ish) | ~150 TWh total final energy in 2018 (IEA-anchored)
2030 projection | ~264 TWh
2050 projection | ~373 TWh (BAU and NZ identical demand)
Compound growth 2030→2050 | ~1.7%/yr aggregate (IEA WEO 2024 BD trajectory)
Why same in BAU and NZ? | The model treats demand as exogenous — both scenarios optimise SUPPLY mix subject to demand. This isolates the "cost of decarbonisation" cleanly. Demand reduction (negawatts) is a separate policy lever not modelled here.
Demand drivers — why energy use grows
Driver
Population: 167M (2025) → 192M (2050) — +15%
GDP per capita: $2,700 (2024) → ~$8,000 (2050, real) — 200% rise
Industrial output: 3%/yr CAGR for most subsectors (textiles, cement, steel, chemicals)
Cooling demand: AC penetration rising sharply (currently <10% of households, 2050: ~60%)
Vehicle electrification: BEV share 0% (2030) → 50% (2065) of road transport
Cooking transition: phasing out biomass cookstoves (currently 95% of households) toward electric/LPG
Total final-energy demand by year (TWh)
Sector | Base | 2030 | 2040 | 2050
Residential — electricity | 33.07 | 178.23 | 215.38 | 279
Residential — biomass (cooking) | 102.83 | 99.21 | 96.03 | 92.97
Residential — heat (gas) | 48.13 | 48.19 | 48.25 | 48.3
Road transport (all fuels) | 37.45 | 43.26 | 45.93 | 43.8
Services — electricity | 7.51 | 10.89 | 15.27 | 21.41
Rail (electric) | 4.53 | 7.29 | 11.24 | 17.32
International aviation (oil) | 5.02 | 6.35 | 7.85 | 9.72
Agriculture — oil | 12.34 | 9.32 | 7.23 | 5.6
Residential — heat (oil) | 11.39 | 5.59 | 5.49 | 5.39
Other (sectoral residual) | 4.16 | 4.16 | 4.16 | 4.16
International navigation (oil) | 1.59 | 2.06 | 2.58 | 3.18
Agriculture — electricity | 1.74 | 2.14 | 2.58 | 3.11
Services — gas | 2.46 | 2.3 | 2.16 | 2.03
Domestic aviation (oil) | 0.25 | 0.38 | 0.55 | 0.79
TOTAL final-energy | 136.23 | 209.69 | 232.35 | 268.39
Industry demand by carrier (TWh)
From custom industry_demand_AB_<year>.csv. NDC-anchored: replaces PyPSA-Earth's UN-derived BD industry totals (which were essentially empty: 0.5 TWh biomass only).
Carrier | 2030 | 2035 | 2050
gas | 107.21 | 124.25 | 167.31
electricity | 85.78 | 99.42 | 133.87
coal | 39.4 | 45.67 | 61.49
process emissions | 26.11 | 30.26 | 47.12
oil | 11.49 | 13.31 | 17.93
biomass | 0.13 | 0.15 | 0.2
TOTAL industry | 270.1 | 313.1 | 427.9
Industry demand by industrial sub-sector (TWh)
Sub-sector | 2030 | 2035 | 2050
non-metallic minerals | 102.2 | 118.4 | 165.8
textile and leather | 47.2 | 54.7 | 73.6
chemical and petrochemical | 35.4 | 41 | 55.2
other | 32.1 | 37.2 | 50.1
food and tobacco | 25.9 | 30 | 40.4
iron and steel | 16.5 | 19.1 | 25.7
paper pulp and print | 4.3 | 5 | 6.7
machinery | 4.3 | 5 | 6.7
transport equipment | 2.3 | 2.7 | 3.6
wood and wood products | 0.1 | 0.1 | 0.1
Temporal resolution — how demand is profiled hourly
Profile | Description
Native data | Annual TWh totals per sector × carrier
Profile generation | Hourly 8760 profiles synthesised by build_demand_profiles.py via:
Aggregation | Snakemake workflow aggregates hourly profiles to opts=3H/1H (carbon limit resolution) and sopts=3h/1h (sector dispatch)
electricity_residential | European residential load profile (BDEW) scaled to BD timezone — evening peak 6-10pm
electricity_services | European services profile — daytime peak 9am-5pm
electricity_industry | Flat profile (continuous industrial demand)
heat_residential_space | Temperature-derived (BDEW heat load) — winter peak (minor in BD, ~Dec-Feb)
heat_residential_water | Flat year-round
transport_road | Mid-day commute profile (low BEV charging during peak demand to enable smart charging)
cooking_biomass | Morning + evening peaks (cooking events)
Growth assumptions — per-sector CAGR (%/yr)
Per-sector compound annual growth rate. DEFAULT row applies to BD (no BD override). Applied to baseline → projected demand for each horizon year.
Sector / sub-sector | Growth CAGR (%/yr) | Efficiency gain CAGR (%/yr) | Net pathway
agriculture biomass | 1.471 | -1.232 | 0.239
agriculture electricity | 2.156 | -0.27 | 1.886
agriculture oil | -1.859 | -0.67 | -2.529
electricity rail | 3.982 | -0.215 | 3.767
electricity residential | 5.568 | -0.27 | 5.298
other biomass | 0 | 0 | 0
other electricity | 0 | 0 | 0
other gas | 0 | 0 | 0
other heat | 0 | 0 | 0
other oil | 0 | 0 | 0
residential biomass | 0 | -0.495 | -0.495
residential gas | 1.095 | -1.039 | 0.056
residential heat biomass | 0 | -0.27 | -0.27
residential heat gas | 0 | 0 | 0
residential heat oil | 0 | -0.27 | -0.27
residential oil | 0 | 0 | 0
services biomass | 0 | -0.553 | -0.553
services electricity | 3.715 | -0.27 | 3.445
services gas | -0.611 | 0 | -0.611
services oil | -3.582 | 0 | -3.582
total domestic aviation | 3.715 | 0 | 3.715
total domestic navigation | 0.645 | -1.786 | -1.141
total international aviation | 2.156 | 0 | 2.156
total international navigation | 2.504 | 27.42 | 29.924
total navigation hydrogen | 0 | -0.852 | -0.852
total navigation oil | 0 | -0.106 | -0.106
total rail | 4.94 | -0.495 | 4.445
total residential space | 2.156 | -0.495 | 1.661
total residential water | 2.5 | -1.039 | 1.461
total road | 1.39 | 0 | 1.39
total road ev | 0 | -6.14 | -6.14
total road fcev | 0 | -2.652 | -2.652
total road ice | 0 | 0 | 0
total services space | 1.786 | -0.67 | 1.116
total services water | 2.156 | -1.786 | 0.37
Industrial sub-sector growth (CAGR %/yr, BD = DEFAULT)
Industry sub-sector | CAGR (%/yr)
chemical and petrochemical | 3
machinery | 3
mining and quarrying | 3
non-ferrous metals | 3
non-metallic minerals | 3
paper pulp and print | 3
textile and leather | 3
transport equipment | 3
wood and wood products | 3
other | 3
food and tobacco | 2
iron and steel | 1.7
construction | 1.5
Demand data sources
Source | What it provides
IEA Bangladesh 2023 | Energy Supply by Source baseline (TFC = 2,800 PJ ≈ 778 TWh primary; final energy ~150 TWh after losses)
NDC 3.0 (Sept 2025) | BAU and conditional pathway anchors. Table 3 itemises 2035 BAU split: Power 61.66 + Transport 30.00 + Manufacturing 108.82 + Construction 25.59 MtCO2
SSP2-2.6 | Demand growth driver (population × GDP × per-capita energy)
AB transport scenario | Aspirational electrification: BEV 0% (2030) → 50% (2065), FCEV growing in heavy-duty
BD-specific industry projections | 138 / 160 / 250 TWh for 2030/35/50 — replaces PyPSA-Earth's UN-derived BD industry totals (which were essentially empty: 0.5 TWh biomass only)
BD-specific fuel_shares row | 95% biomass-to-cooking, 30% oil-to-heat (kerosene mostly lighting). Replaced Morocco DEFAULT.
energy_totals_DF_2030.csv | Discrete-form energy totals (no scaling) for diagnostic comparison

## Renewable Potentials
Renewable potentials per technology
Geographic potential calculation parameters from atlite + Copernicus PROBAV exclusions.
Technology | Parameter | Value
solar | capacity_per_sqkm_MW_per_km2 | 4.6
solar | corine_codes | None
onwind | capacity_per_sqkm_MW_per_km2 | 3
onwind | min_shore_distance_km | None
Note
Hydro dropped (BD has 230 MW <1%, atlite>=0.6 hydro func broken). Offshore wind dropped (BD has zero installed, atlite availabilitymatrix pathology).

## Demand Projection
Demand projection by sector and carrier
Custom industry_demand_AB_<year>.csv. NDC-anchored: 138/160/250 TWh industry for 2030/35/50.
Sector / Carrier | 2030 | 2050
agriculture electricity | 2.14 | 3.11
agriculture oil | 9.32 | 5.6
electricity residential | 60.16 | 165.06
electricity residential space | 2.05 | 2.05
electricity residential water | 1.37 | 1.37
other biomass | 2.78 | 2.78
other electricity | 1.38 | 1.38
residential biomass | 24.34 | 22.04
residential gas | 12.09 | 12.2
residential heat biomass | 74.87 | 70.93
residential heat gas | 36.1 | 36.1
residential heat oil | 3.69 | 3.49
residential oil | 1.9 | 1.9
services electricity | 10.89 | 21.41
services gas | 2.3 | 2.03
total domestic aviation | 0.38 | 0.79
total international aviation | 6.35 | 9.72
total international navigation | 2.06 | 3.18
total rail | 7.29 | 17.32
total residential space | 70.84 | 68.36
total residential water | 47.23 | 45.58
total road | 43.26 | 43.8

## Data Sources
Data sources
Provenance for every input. Citations for the methodology section.
Field | Source / Value
cost_trajectories → source | NREL ATB 2024 / IRENA WETO 2023 / BNEF 2024 / DEA Tech Cat. 2024 / IEA WEO 2024
cost_trajectories → baseline | PyPSA-Earth costs.csv (DIW DataDoc, JRC ETRI, Lazard) with BD-specific overrides per Karim 2026
cost_trajectories → currency_year | 2024
powerplants_brownfield | BPDB-validated custom_powerplants_pypsa_bd.csv (PyPSA-BD project, March 2026)
demand → industry | Custom industry_demand_AB_<year>.csv: NDC-anchored 138/160/250 TWh for 2030/35/50, IEA Energy Supply by Source as 2023 baseline + 3%/yr growth
demand → transport | AB scenario shares: BEV 50% by 2065, FCEV growing, ICE phase-out
demand → heat | BD-specific fuel_shares (95% biomass-to-cooking, 30% oil-to-heat); SSP2-2.6 building stock
co2_emissions | IEA 2020 BD baseline 97 MtCO2 (electricity sector); NDC 3.0 conditional 225 Mt 2035 (Energy + IPPU)
weather | ERA5 reanalysis 2013, Copernicus CDS, atlite cutout
land_use | Copernicus PROBAV LC100 2019 (corine codes for solar/wind exclusion masks)
osm_network | OpenStreetMap power infrastructure, pulled 2026
gadm_admin | GADM v4 level-1 (8 BD divisions: Dhaka, Chattogram, Rajshahi, Khulna, Rangpur, Sylhet, Barishal, Mymensingh)

## Model Fixes
Critical bugs found and fixed
Project journey of model patches that materially change the results.
Fix | Description
Existing-fleet duplication | keep_existing_capacities=true + myopic double-counted at base year. Fix: scenario configs set false.
CCGT/OCGT not vintaged | add_existing_baseyear.py:338 used spatial[generator] instead of spatial[carrier[generator]]. Fix applied.
Brownfield retirement locked | add_brownfield.py kept extendable=False, preventing post-2030 retirement. Fix: extendable with p_nom_max ratcheted.
Biomass capacity envelope | Stock add_CCL_constraints missed sector-coupled biomass EOP Link. New add_carrier_capacity_envelope_constraints() in solve_network.py sums both paths.
CCS sequestration | co2_sequestration_potential raised to 200 MtCO2/yr to allow deep-decarb scenarios.
BD fuel_shares.csv | Replaced Morocco DEFAULT row with BD-specific (95% biomass-to-cooking, 30% oil-to-heat) — eliminated 71 TWh phantom space heating.

## Results - Transmission
Transmission build-out — corridor & line detail
Inter-divisional AC transmission expansion. Distribution (sub-divisional) not modelled. Cross-border interconnects excluded.
Total expansion by scenario × year
Scenario | Year | Existing (GW) | Optimised (GW) | Expansion (GW) | Investment (€M/yr) | # lines | # extendable
BAU (NDC 3.0) | 2030 | 52.3 | 52.7 | 0.3 | 1.72 | 10 | 10
BAU (NDC 3.0) | 2035 | 52.3 | 52.7 | 0.3 | 1.83 | 10 | 10
BAU (NDC 3.0) | 2050 | 52.3 | 52.7 | 0.4 | 2.04 | 10 | 10
Net-Zero 2050 | 2030 | 52.3 | 52.7 | 0.3 | 1.74 | 10 | 10
Net-Zero 2050 | 2035 | 52.3 | 52.7 | 0.3 | 1.83 | 10 | 10
Net-Zero 2050 | 2050 | 52.3 | 66.7 | 14.4 | 84.43 | 10 | 10
BAU Greenfield | 2050 | 52.3 | 52.4 | 0 | 0.27 | 10 | 10
NZ Greenfield | 2050 | 52.3 | 71.8 | 19.5 | 119.55 | 10 | 10
Corridor expansion at 2050 — all scenarios (MW added)
Per inter-divisional AC corridor. Sum across redundant lines. Corridors with non-zero expansion in any scenario.
Corridor | Existing (MW) | BAU +MW | Net-Zero +MW | BAU +MW | NZ +MW
Dhaka ↔ Khulna | 7275 | 2 | 10507 | 0 | 13029
Dhaka ↔ Sylhet | 1032 | 327 | 2038 | 0 | 1981
Dhaka ↔ Mymensingh | 9206 | 2 | 1535 | 3 | 1624
Barishal ↔ Khulna | 147 | 36 | 281 | 38 | 313
Khulna ↔ Mymensingh | 10211 | 8 | 11 | 1 | 2559
Dhaka ↔ Rangpur | 3575 | 2 | 4 | 1 | 0
Barishal ↔ Dhaka | 4898 | 2 | 2 | 0 | 0
Mymensingh ↔ Rajshahi | 3110 | 2 | 1 | 0 | 0
Chattogram ↔ Dhaka | 11413 | 3 | 1 | 0 | 0
Chattogram ↔ Rangpur | 1470 | 1 | 0 | 1 | 0
Per-line detail — NZ Myopic 2050 (central case)
Line ID | From | To | Corridor | Existing (MW) | Optimised (MW) | Expansion (MW) | Length (km) | Capex (€/MW)
4 | Dhaka | Khulna | Dhaka ↔ Khulna | 7275 | 17782 | 10507 | 153 | 5839
7 | Dhaka | Sylhet | Dhaka ↔ Sylhet | 1032 | 3070 | 2038 | 133 | 5075
5 | Dhaka | Mymensingh | Dhaka ↔ Mymensingh | 9206 | 10741 | 1535 | 187 | 7110
1 | Barishal | Khulna | Barishal ↔ Khulna | 147 | 428 | 281 | 156 | 5950
8 | Khulna | Mymensingh | Khulna ↔ Mymensingh | 10211 | 10222 | 11 | 205 | 7819
6 | Dhaka | Rangpur | Dhaka ↔ Rangpur | 3575 | 3579 | 4 | 224 | 8532
0 | Barishal | Dhaka | Barishal ↔ Dhaka | 4898 | 4899 | 2 | 200 | 7619
2 | Chattogram | Dhaka | Chattogram ↔ Dhaka | 11413 | 11414 | 1 | 219 | 8355
9 | Mymensingh | Rajshahi | Mymensingh ↔ Rajshahi | 3110 | 3111 | 1 | 159 | 6058
3 | Chattogram | Rangpur | Chattogram ↔ Rangpur | 1470 | 1471 | 0 | 274 | 10431

## Results - Capacity
Generator capacity (p_nom_opt) — Results
MW by scenario × year × carrier. Drop ≤5 MW noise.
Carrier | BAU 2030 | BAU 2035 | BAU 2050 | Net-Zero 2030 | Net-Zero 2035 | Net-Zero 2050 | BAU 2050 | NZ 2050
solar | 25356 | 36291 | 140265 | 25367 | 36282 | 107927 | 139597 | 72843
onwind | 0 | 0 | 0 | 0 | 0 | 2218 | 0 | 2154
nuclear | 4120 | 4120 | 4121 | 4120 | 4120 | 25214 | 4120 | 30054
coal | 104174 | 86971 | 76439 | 110069 | 44148 | 38734 | 29062 | 49801
oil | 13602 | 22971 | 12088 | 13167 | 16899 | 49260 | 10823 | 21469
biomass | 11986 | 11986 | 11986 | 11986 | 11986 | 11986 | 11986 | 11986
load shedding | 45111 | 48730 | 65612 | 45111 | 48730 | 65612 | 65612 | 65612
gas | 38014 | 47426 | 64299 | 36739 | 46100 | 34588 | 54174 | 35695
residential rural solar thermal | 0 | 8 | 0 | 6 | 6 | 0 | 0 | 0
residential urban decentral solar thermal | 0 | 8 | 0 | 6 | 6 | 0 | 0 | 0
services rural solar thermal | 0 | 8 | 0 | 6 | 6 | 0 | 0 | 0
services urban decentral solar thermal | 0 | 7 | 0 | 6 | 6 | 0 | 0 | 0
urban central solar thermal | 0 | 10 | 0 | 8 | 9 | 0 | 0 | 0

## Results - Generation
Annual generation (TWh) — Results
Energy delivered per year by each Generator carrier, weighted by snapshot duration.
Carrier | BAU 2030 | BAU 2035 | BAU 2050 | Net-Zero 2030 | Net-Zero 2035 | Net-Zero 2050 | BAU 2050 | NZ 2050
solar | 30.81 | 44.01 | 167.64 | 30.82 | 44 | 130.15 | 166.95 | 87.73
onwind | 0 | 0 | 0 | 0 | 0 | 2.79 | 0 | 2.71
nuclear | 36.06 | 35.95 | 33.97 | 36.07 | 35.95 | 204.86 | 33.98 | 252.12
coal | 105.73 | 111.66 | 117.81 | 105.72 | 111.66 | 68.32 | 123.49 | 68.32
oil | 53.29 | 52.5 | 45.26 | 53.29 | 52.49 | 45.25 | 45.26 | 45.25
biomass | 104.99 | 104.99 | 105 | 104.99 | 104.99 | 105 | 104.98 | 105
load shedding | 0.21 | 0.32 | 0.96 | 0.21 | 0.32 | 0.96 | 0.97 | 0.96
gas | 283.19 | 339.18 | 430.85 | 283.25 | 339.17 | 279.39 | 428 | 267.4

## Results - Storage & Cost
Storage, system cost & emissions — Results
Headline economic + storage metrics by scenario × year.
Scenario | Year | System cost (€B/yr) | CO2 cap (Mt) | Total load (TWh) | Battery (GWh, Store+SU) | H2 store (TWh) | Snapshots | Resolution
BAU (NDC 3.0) | 2030 | 13.92 | 247.3 | 263.5 | 4.8 | 0.26 | 2920 | 3.0h
BAU (NDC 3.0) | 2035 | 15.68 | 261.9 | 282.1 | 13.4 | 0.41 | 2920 | 3.0h
BAU (NDC 3.0) | 2050 | 26.74 | 970 | 372.7 | 230 | 2.03 | 2920 | 3.0h
Net-Zero 2050 | 2030 | 13.93 | 247.3 | 263.5 | 4.8 | 4 | 2920 | 3.0h
Net-Zero 2050 | 2035 | 15.68 | 225 | 282.1 | 13.4 | 0.34 | 2920 | 3.0h
Net-Zero 2050 | 2050 | 37.28 | 0 | 372.7 | 171.2 | 2.21 | 2920 | 3.0h
BAU Greenfield (2050) | 2050 | 29.81 |  | 372.7 | 229.2 | 25.86 | 2920 | 3.0h
NZ Greenfield (2050) | 2050 | 39.59 | 0 | 372.7 | 107.7 | 1.18 | 2920 | 3.0h

## Results - Links
Link capacity (p_nom_opt, MW) — Results
Sector-coupling links: CCS, DAC, electrolysers, heat pumps, biomass paths, etc. Filter on the table.
Carrier | BAU 2030 | BAU 2035 | BAU 2050 | Net-Zero 2030 | Net-Zero 2035 | Net-Zero 2050 | BAU 2050 | NZ 2050
CCGT | 19556 | 21827 | 18151 | 19559 | 21832 | 3457 | 17685 | 0
battery charger | 1579 | 3412 | 38571 | 1577 | 3409 | 25996 | 38321 | 16689
battery discharger | 1611 | 3482 | 39367 | 1610 | 3480 | 26533 | 39111 | 17033
BEV charger | 317 | 1742 | 7919 | 317 | 1742 | 7919 | 7919 | 7919
urban central gas CHP | 0 | 4425 | 26875 | 0 | 4443 | 4443 | 26766 | 3544
urban central gas CHP CC | 0 | 0 | 0 | 0 | 0 | 5383 | 0 | 4586
urban central solid biomass CHP CC | 0 | 0 | 0 | 0 | 0 | 1205 | 0 | 1210
gas for industry CC | 0 | 0 | 0 | 0 | 0 | 21222 | 0 | 21222
coal for industry CC | 0 | 0 | 0 | 0 | 0 | 7799 | 0 | 7799
process emissions CC | 0 | 0 | 0 | 0 | 0 | 5379 | 0 | 5379
DAC | 0 | 0 | 0 | 0 | 0 | 3149 | 0 | 3015
solid biomass transport | 5589 | 10415 | 3834 | 8553 | 8029 | 2408 | 14749 | 2517
urban central air heat pump | 0 | 0 | 0 | 0 | 0 | 753 | 0 | 749
urban central resistive heater | 0 | 0 | 0 | 0 | 0 | 740 | 0 | 613
co2 vent | 0 | 0 | 0 | 0 | 72 | 0 | 0 | 0
coal | 7822 | 7822 | 7139 | 7822 | 7822 | 0 | 7822 | 0
coal for industry | 4497 | 5211 | 7019 | 4496 | 5211 | 0 | 7018 | 0
electric process heat oil | 0 | 0 | 2067 | 0 | 0 | 2068 | 2065 | 2068
gas for industry | 12237 | 14182 | 19099 | 12236 | 14182 | 0 | 19098 | 0
gas for oil industry | 1311 | 1519 | 2046 | 1311 | 1519 | 2046 | 2046 | 2046
oil | 784 | 570 | 0 | 765 | 551 | 0 | 0 | 0
process emissions | 2981 | 3455 | 5379 | 2981 | 3455 | 0 | 5379 | 0
residential urban decentral water tanks charger | 0 | 53 | 0 | 0 | 0 | 0 | 0 | 0
urban central water tanks charger | 0 | 9703 | 60479 | 79 | 9734 | 27903 | 60602 | 24605
urban central water tanks discharger | 0 | 8733 | 54431 | 71 | 8761 | 25112 | 54542 | 22145